## AQW 14576-11-15 - Question
2012-10-08
AQW 14576/11-15
Patsy McGlone has asked:
To ask the Minister of Education to detail (i) the schools in each Education and Library Board area where asbestos is present, (ii) the assessment of the risk in each case and (iii) the action planed to remove all traces of asbestos from these schools to minimise risk to pupils and staff.

## AQW 14576-11-15 - Answer
2012-10-08
AQW 14576/11-15
ANSWER
(i) and (ii) The table provided at the end of this answer shows schools in the estate for which the Education and Library Boards are responsible for and that have asbestos containing materials, detailing the types of asbestos that are present in the various schools. Each school has an asbestos register that shows where asbestos containing materials are present that is available for inspection by any personnel wishing to carry out works at the school or for information purposes. Each asbestos containing material has an individual level of risk depending on its condition and its location. This volume of information is not possible to provide for a schools' estate of over 1200 schools.
(iii) As a result of the introduction of the Control of Asbestos at Work Regulations (NI) 2003 (recently replaced by the Control of Asbestos at Work Regulations (NI) 2012) and the Control of Asbestos (NI) Order 2007, the Education and Library Boards arranged for surveys to be carried out of the schools' estate to ascertain the extent of asbestos containing materials. Any asbestos containing materials deemed to pose a high risk were removed following this assessment.
As detailed in the Health and Safety Executive (HSE) Approved Code of Practice and Guidance for The management of asbestos in non domestic premises (under Regulation 4 of the Control of Asbestos Regulations 2006), should deterioration of asbestos containing materials occur, or if they are likely to be disturbed due to works being carried out at the premises, then they should be removed, repaired or encapsulated by a licensed asbestos company. If asbestos containing materials are in good condition and are unlikely to be damaged or disturbed then it is recommended to leave them in place and to introduce a system of management. The school sectors follow these recommendations and manage the asbestos in the estate rather than remove it unless deemed necessary. As a result of this advice there is no action planned to remove all traces of asbestos from the schools.
John O'Dowd MLA

## AQW 14576-11-15
TYPE | PROPERTY | AREA | TYPE OF ASBESTOS PRESENT
|  |  | White (chrysotile) | Blue (crocidolite) | Brown (amosite)
South Eastern Education & Library Board
Cont Prim | Academy Primary School | Saintfield | YES | NO | YES
Cont Prim | Alexander Dickson Primary School | Ballygowan | YES | NO | NO
Cont Prim | Anahilt Primary School | Anahilt | NO | NO | YES
Cont Prim | Andrews Memorial Primary School | Comber | YES | NO | YES
Cont Prim | Annsborough Int Primary School | Castlewellan | YES | NO | NO
Special | Ardmore House | Downpatrick | YES | NO | YES
Cont Prim | Ballyholme Primary School | Bangor | YES | NO | YES
Cont Prim | Ballymacash Primary School | Lisburn | NO | NO | YES
Maint Prim | Ballymacrickett Primary School | Lisburn | YES | NO | YES
Cont Prim | Ballymagee Primary School | Bangor | YES | NO | NO
Cont Prim | Ballynahinch Primary School | Ballynahinch | YES | NO | NO
Cont Prim | Ballywalter Primary School | Ballywalter | YES | NO | YES
Cont Prim | Bangor Central Primary School | Bangor | YES | NO | NO
Special | Beechlawn Special School | Hillsborough | YES | NO | YES
Cont Prim | Belvoir Primary School | Belfast | YES | NO | NO
Cont Prim | Bloomfield Primary School | Bangor | YES | NO | YES
Cont Prim | Braniel Primary School | Belfast | YES | NO | YES
Cont Prim | Brooklands Primary School | Dundonald | YES | NO | YES
Cont Prim | Brownlee Primary School | Lisburn | YES | NO | YES
Cont Prim | Cairnshill Primary School | Belfast | YES | NO | YES
Cont Prim | Carrowdore Primary School | Carrowdore | YES | NO | YES
Cont Prim | Carryduff Primary School | Belfast | YES | NO | YES
Cont Nurs | Castlereagh Nursery School | Belfast | YES | NO | NO
Cont Prim | Castlewellan Primary School | Castlewellan | YES | NO | NO
Maint Prim | Christ the King Primary School | Drumaness | YES | NO | YES
Cont Prim | Clandeboye Primary School | Bangor | YES | NO | YES
Cont Prim | Comber Primary School | Comber | YES | NO | NO
Main Nurs | Convent of Mercy Nursery School | Downpatrick | NO | NO | YES
Main Prim | Our Lady and St Patricks Primary School | Downpatrick | YES | NO | YES
Cont Prim | Crawfordsburn Primary School | Crawfordsburn | YES | NO | YES
Main Sec | De La Salle Secondary School | Downpatrick | YES | NO | YES
Cont Prim | Derryboy Primary School | Crossgar | YES | NO | NO
Cont Sec | Donaghadee High School now Killard Special School | Donaghadee | YES | NO | YES
Cont Prim | Donaghadee Primary School | Donaghadee | YES | NO | YES
Cont Grammar | Down High School | Downpatrick | YES | YES | YES
Cont Nurs | Downpatrick Nursery School | Downpatrick | YES | NO | NO
Cont Prim | Downpatrick Primary School | Downpatrick | YES | NO | YES
Cont Prim | Dromara Primary School | Dromara | YES | NO | YES
Cont Sec | Dundonald High School | Dundonald | YES | NO | NO
Cont Prim | Dunmurry Primary School | Belfast | YES | NO | NO
Cont Sec | Fort Hill Int College | Lisburn | YES | YES | YES
Cont Prim | Fort Hill Primary School | Lisburn | YES | NO | NO
Cont Prim | Gilnahirk Primary School | Belfast | YES | YES | YES
Cont Prim | Glasswater Primary School | Crossgar | YES | NO | YES
Cont Sec | Glastry High School | Ballyhalbert | YES | NO | YES
Cont Prim | Glencraig Int Primary School | Holywood | YES | NO | YES
Main Prim | Good Shephard Primary School | Belfast | YES | NO | NO
Main Nurs | Good Shepherd Nursery School | Belfast | YES | NO | NO
Cont Prim | Grange Park Primary School | Bangor | YES | NO | YES
Cont Prim | Greyabbey Primary School | Greyabbey | YES | NO | NO
Cont Prim | Harmony Hill Primary School | Lisburn | YES | NO | YES
Main Prim | Holy Family Primary School | Downpatrick | YES | NO | YES
Cont Nurs | Holywood Nursery School | Holywood | NO | NO | YES
Cont Prim | Holywood Primary School | Holywood | YES | NO | NO
Cont Prim | Kilcooley Primary School | Bangor | YES | NO | YES
Cont Prim | Killowen Primary School | Lisburn | YES | NO | YES
Cont Nurs | Kings Road Nursery School | Belfast | YES | NO | YES
Cont Prim | Kircubbin Int Primary School | Kircubbin | YES | NO | NO
Cont Prim | Kirkistown Primary School | Kirkistown | YES | NO | YES
Cont Sec | Knockbreda High School | Belfast | YES | NO | YES
Cont Nurs | Knockbreda Nursery School | Belfast | YES | NO | NO
Cont Prim | Knockbreda Primary School | Belfast | YES | NO | YES
Cont Prim | Knockmore Primary School | Lisburn | YES | NO | YES
Cont Prim | Largymore Primary School | Lisburn | YES | NO | NO
Cont Sec | Laurelhill Community College | Lisburn | YES | NO | YES
Cont Prim | Lead Hill Primary School | Belfast | YES | NO | YES
Cont Prim | Lisburn Central Primary School | Lisburn | YES | NO | YES
Cont Sec | Lisnagarvey Boys' High School | Lisburn | YES | NO | YES
Cont Prim | Lisnasharragh Primary School | Belfast | YES | NO | YES
Cont Prim | Londonderry Primary School | Newtownards | YES | NO | YES
Special | Longstone Special School | Dundonald | YES | NO | YES
Cont Prim | Maghaberry Primary School | Lisburn | YES | NO | NO
Cont Prim | Millisle Primary School | Millisle | YES | NO | NO
Cont Prim | Moneyrea Primary School | Moneyreagh | YES | NO | YES
Cont Sec | Movilla High School | Newtownards | YES | NO | YES
Cont Nurs | Newtownards Nursrey School | Newtownards | YES | NO | NO
Cont Sec | Newtownbreda High School | Belfast | YES | NO | YES
Cont Prim | Old Warren Primary School | Lisburn | YES | NO | YES
Cont Nurs | Pond Park Nursery School | Lisburn | YES | NO | NO
Cont Prim | Portaferry Int Primary School | Portaferry | YES | NO | YES
Cont Prim | Portavogie Primary School | Portavogie | YES | NO | YES
Cont Sec | Priory College Holywood | Holywood | YES | NO | YES
Cont Prim | Rathmore Primary School | Bangor | YES | NO | YES
Cont Gram | Regent House Grammar School | Newtownards | YES | NO | YES
Main Prim | Sacred Heart Primary School | Dundrum | YES | NO | NO
Cont Prim | Seymour Hill Primary School | Dunmurry | YES | NO | YES
Cont Prim | Spa Primary School | Ballynahinch | YES | NO | NO
Main Prim | St Aloysius Primary School | Lisburn | YES | NO | YES
Main Prim | St Annes Primary School | Donaghadee | YES | NO | NO
Main Prim | St Bernards Primary School | Belfast | YES | NO | YES
Main Prim | St Brigids Primary School | Downpatrick | YES | NO | YES
Main Sec | St Colmans High School | Ballynahinch | YES | NO | NO
Main Sec | St Colmcilles High School | Crossgar | YES | NO | YES
Main Nurs | St Colmcilles Nursery School | Downpatrick | YES | NO | NO
Main Prim | St Colmcilles Primary School | Downpatrick | NO | NO | YES
Main Sec | St Colms High School | Dunmurry | YES | NO | NO
Main Sec | St Columbanus College | Bangor | YES | NO | YES
Main Sec | St Columba's College | Portaferry | YES | NO | YES
Main Prim | St Finian's Primary School | Newtownards | YES | NO | NO
Main Prim | St Francis Primary School | Drumaroad | YES | NO | NO
Main Prim | St Josephs Primary School | Killough | YES | NO | YES
Main Prim | St Josephs Primary School | Carnacaville | YES | NO | NO
Main Prim | St Josephs Primary School | Tyrella | YES | NO | YES
Main Prim | St Josephs' Primary School | Lisburn | YES | NO | NO
Main Prim | St Joseph's Primary School | Downpatrick(ballycruttle) | YES | NO | NO
Main Prim | St Kierans Primary School | Belfast | YES | NO | NO
Main Prim | St Lukes Primary School | Belfast | YES | NO | YES
Main Prim | St Malachy' Primary School | Bangor | YES | NO | YES
Main Sec | St Malachys High School | Castlewellan | YES | NO | NO
Main Prim | St Malachys Primary School | Castlewellan | YES | NO | NO
Main Prim | St Malachys Primary School | Kilclief | NO | NO | YES
Maint Prim | St Malachy's Primary School | Kilcoo | YES | NO | NO
Main Prim | St Marks Primary School | Belfast | YES | NO | YES
Main Sec | St Marys High School | Downpatrick | YES | NO | YES
Main Prim | St Marys Primary School | Ardglass | YES | NO | NO
Main Prim | St Marys Primary School | Portaferry | YES | NO | NO
Main Prim | St Marys Primary School | Saintfield | YES | YES | NO
Main Prim | St Marys Primary School | Aughlisnafin | YES | NO | NO
Maint Prim | St Marys Primary School | Kircubbin | YES | NO | NO
Main Prim | St Marys Primary School | Killyleagh | YES | NO | NO
Main Prim | St Nicholas Primary School | Ardglass | YES | NO | NO
Main Sec | St Patricks High School | Lisburn | YES | NO | YES
Main Prim | St Patricks Primary School | Legamaddy | YES | NO | NO
Main Prim | St Patricks Primary School | Ballynahinch | YES | NO | NO
Main Prim | St Patricks Primary School | Portaferry | YES | NO | NO
Main Prim | St Patricks Primary School | Holywood | YES | NO | YES
Main Prim | St Patricks Primary School | Castlewellan | YES | NO | YES
Maint Prim | St. Caolans' Primary School | Darragh Cross | YES | NO | YES
Maint Prim | St. Josephs Primary School | Crossgar | YES | NO | NO
Main Prim | St. Joseph's Primary School | Strangford | YES | NO | NO
Cont Sec | The High School | Ballynahinch | YES | NO | YES
Cont Prim | Tonagh Primary School | Lisburn | YES | NO | YES
Special | Tor Bank Special School | Belfast | YES | NO | YES
Cont Nurs | Trinity Nursery School | Bangor | YES | NO | YES
Cont Prim | Tullycarnet Primary School | Belfast | YES | NO | YES
Cont Prim | Victoria Primary School | Ballyhalbert | NO | NO | YES
Cont Prim | West Winds Primary School | Newtownards | YES | NO | YES
Western Education & Library Board
Cont Nurs | Ballycolman Nursery School | Strabane | YES | NO | NO
Cont Nurs | Belmont Nursery School | Derry | YES | NO | NO
Cont Nurs | Bligh's Lane Nursery School | Derry | YES | NO | NO
Cont Nurs | Carnhill Nursery School | Derry | YES | NO | YES
Cont Nurs | Galliagh Nursery School | Derry | YES | NO | NO
Cont Nurs | Strathfoyle Nursery School | Derry | YES | NO | NO
Cont Nurs | Trench Road Nursery School | Derry | YES | NO | NO
Cont Prim | Aghadrumsee Primary School | Roslea | YES | NO | NO
Main Prim | All Saint's Primary School | Omagh | YES | NO | NO
MainPrim | Altishane Primary School | Strabane | YES | NO | NO
Cont Prim | Ardstraw Primary School | Newtownstewart | YES | NO | NO
Cont Prim | Artigarvan Primary School | Strabane | YES | NO | NO
Cont Prim | Ashlea Primary School | Derry | YES | NO | YES
Cont Prim | Ballinamallard Primary School |  | YES | NO | YES
Cont Prim | Ballougry Primary School | Derry | YES | NO | NO
Cont Prim | Ballykelly Primary School |  | YES | NO | YES
Main Prim | Barrack Street Boys' Primary School | Strabane | YES | NO | NO
Cont Prim | Bellarena Primary School | Limavady | YES | NO | NO
Cont Prim | Belleek No 2 Primary School |  | YES | NO | NO
Cont Prim | Bridgehill Primary School | Castlederg | YES | NO | NO
Main Prim | Broadbridge Primary School | Eglinton | YES | NO | NO
Cont Prim | Brookeborough Primary School |  | YES | NO | YES
Irish Med Prim | Bunscoil an Traonaigh Primary School | Lisnaskea | YES | NO | NO
Irish Med Prim | Bunscoil Cholmcille Primary School | Derry | YES | NO | NO
Main Prim | Chapel Road Primary School | Derry | YES | NO | NO
Main Prim | Christ the King Primary School | Omagh | YES | NO | NO
Main Prim | Craigbrack Primary School | Eglinton | YES | NO | NO
Cont Prim | Culmore Primary School | Derry | YES | NO | NO
Cont Prim | Cumber Claudy Primary School |  | YES | NO | NO
Cont Prim | Denamona Primary School | Fintona | YES | NO | YES
Cont Prim | Derrygonnelly Primary School |  | YES | NO | NO
Cont Prim | Donemana Primary School | Strabane | YES | NO | NO
Cont Prim | Dromore Primary School |  | YES | NO | NO
Cont Prim | Drumachose Primary School | Limavady | YES | NO | YES
Cont Prim | Drumahoe Primary School | Derry | YES | NO | NO
Main Prim | Drumduff Primary School | Omagh | YES | NO | NO
Main Prim | Drumlish Primary School | Dromore | YES | NO | YES
Main Prim | St Francis Assiss, Drumnabey | Castlederg | YES | NO | NO
Cont Prim | Dunmullan Primary School | Omagh | YES | NO | NO
Cont Prim | Ebrington Primary School | Derry | YES | NO | YES
Cont Prim | Eglinton Primary School |  | YES | NO | NO
Cont Prim | Enniskillen Model Primary School |  | YES | NO | YES
Main Prim | Envagh Primary School | Drumquin | YES | NO | NO
Cont Prim | Erganagh Primary School | Castlederg | YES | NO | NO
Main Prim | Evish Primary School | Strabane | YES | NO | NO
Main Prim | Faughanvale Primary School | Greysteel | YES | NO | NO
Cont Prim | Fountain Primary School | Derry | YES | NO | NO
Irish Med Prim | Gaelscoil Eadain Mhoir Primary School | Derry | YES | NO | NO
Irish Med Prim | Gaelscoil Uí Dhochartaigh Primary School | Strabane | YES | NO | NO
Cont Prim | Gillygooley Primary School | Omagh | YES | NO | NO
Main Prim | Glendermott Primary School | Derry | YES | NO | NO
Main Prim | Good Shepherd Primary School | Derry | YES | NO | NO
Cont Prim | Gortin Primary School |  | YES | NO | NO
Main Prim | Gortnagarn Primary School | Omagh | YES | NO | NO
Cont Prim | Greenhaw Primary School | Derry | YES | NO | YES
Cont Prim | Groarty Primary School | Derry | YES | NO | NO
Main Prim | Hollybush Primary School | Derry | YES | NO | NO
Main Prim | Holy Child Primary School | Derry | YES | NO | NO
Main Prim | Holy Family Primary School | Derry | YES | NO | NO
Main Prim | Holy Trinity Primary School | Enniskillen | YES | NO | NO
Cont Prim | Irvinestown Primary School |  | YES | NO | YES
Cont Prim | Jones Memorial Primary School | Enniskillen | YES | NO | YES
Main Prim | Killyhommon Primary School | Enniskillen | YES | NO | NO
Main Prim | Knocknagor Primary School | Trillick | YES | NO | NO
Cont Prim | Lack Primary School |  | YES | NO | YES
Cont Prim | Langfield Primary School | Drumquin | YES | NO | NO
Cont Prim | Limavady Central Primary School |  | YES | NO | NO
Main Prim | Listress Primary School | Derry | YES | NO | YES
Cont Prim | Londonderry Model Primary School |  | YES | NO | YES
Main Prim | Longtower Primary School | Derry | YES | NO | NO
Main Prim | Holy Family PS (previously Loreto Convent PS, Omagh) |  | YES | NO | YES
Main Prim | Loughash Primary School | Strabane | YES | NO | NO
Main Prim | Magheralough Primary School | Trillick | YES | NO | NO
Cont Prim | McClintock Primary School | Seskinore | YES | NO | NO
Cont Prim | Moat Primary School | Lisnaskea | YES | NO | NO
Main Prim | Mullabuoy Primary School | Derry | YES | NO | YES
Main Prim | Nazareth House Primary School | Derry | YES | NO | NO
Cont Prim | Newbuildings Primary School |  | YES | NO | NO
Cont Prim | Newtownbutler No 2 Primary School |  | YES | NO | NO
Cont Prim | Newtownstewart Model Primary School |  | YES | NO | YES
Cont Prim | Omagh County Primary School |  | YES | NO | NO
Main Prim | Our Lady of Lourdes Primary School | Greencastle | YES | NO | NO
Cont Prim | Queen Elizabeth II Primary School | Trillick | YES | NO | YES
Main Prim | Recarson Primary School | Omagh | YES | NO | NO
Main Prim | Roscavey Primary School | Beragh | YES | NO | YES
Main Prim | Rosemount Primary School | Derry | YES | NO | NO
Main Prim | Sacred Heart Primary School, Tattyreagh | Omagh | YES | NO | NO
Main Prim | Sacred Heart Primary School, Trench Road | Derry | YES | NO | NO
Cont Prim | Sion Mills Primary School |  | YES | NO | NO
Main Prim | St Finlough's Primary School (Sistrakeel) | Limavady | YES | NO | YES
Main Prim | St Aidan's Primary School, Magilligan | Limavady | YES | NO | NO
Main Prim | St Anne's Primary School | Derry | YES | NO | NO
Main Prim | St Anne's Primary School | Strabane | YES | NO | NO
Main Prim | St Anthony's Primary School | Bellerana | YES | NO | NO
Main Prim | St Brigid's Primary School, Altamuskin | Sixmilecross | YES | NO | NO
Main Prim | St Brigid's Primary School, Cranagh | Gortin | YES | NO | NO
Main Prim | St Brigid's Primary School | Londonderry | YES | NO | YES
Main Prim | St Brigid's Primary School | Mountfield | YES | NO | NO
Main Prim | St Caireall's Primary School | Castlederg | YES | NO | YES
Main Prim | St Canice's Primary School | Dungiven | YES | NO | NO
Main Prim | St Canice's Primary School | Feeny | YES | NO | YES
Main Prim | St Colmcille's Primary School | Claudy | YES | NO | NO
Main Prim | Holy Family PS (previously St Colmcille's PS, Omagh) |  | YES | NO | NO
Main Prim | St Columban's Primary School | Belcoo | YES | NO | YES
Main Prim | St Columba's Primary School | Clady | YES | NO | NO
Main Prim | St Columba's Primary School | Newbuildings | YES | NO | YES
Main Prim | St Columbkille's Primary School | Carrickmore | YES | NO | YES
Main Prim | St Conor's Primary School | Omagh | YES | NO | YES
Main Prim | St Davog's Primary School | Belleek | YES | NO | YES
Main Prim | St Eithne's Primary School | Derry | YES | NO | NO
Main Prim | St Eugene's Primary School | Londonderry | YES | NO | NO
Main Prim | St Eugene's Primary School, Knocks | Lisnaskea | YES | NO | NO
Main Prim | St Eugene's Primary School, Tycur | Omagh | YES | NO | NO
Main Prim | St Eugene's Primary School, Victoria Bridge |  | YES | NO | NO
Main Prim | St John the Baptist Primary School | Belleek | YES | NO | NO
Main Prim | St John's Primary School, Dernaflaw | Dungiven | YES | NO | NO
Main Prim | St Joseph's Primary School, Donagh | Lisnaskea | YES | NO | YES
Main Prim | St Joseph's Primary School | Drumquin | YES | NO | NO
Main Prim | St Joseph's Primary School | Ederney | YES | NO | NO
Main Prim | St Joseph's Primary School | Glenmornan | YES | NO | NO
Main Prim | St Lawrence's Primary School | Fintona | YES | NO | YES
Main Prim | St Macartan's Primary School | Dromore | YES | NO | NO
Main Prim | St Martin's Primary School, Garrsion |  | YES | NO | YES
Main Prim | St Mary's Primary School, Altinure | Claudy | YES | NO | NO
Main Prim | St Mary's Primary School | Brookeborough | YES | NO | NO
Main Prim | St Mary's Primary School, Cloughcor | Strabane | YES | NO | YES
Main Prim | St Mary’s Primary School, Gortnaghey | Dungiven | YES | NO | NO
Main Prim | St Mary's Primary School, Killesher | Enniskillen | YES | NO | NO
Main Prim | St Mary's Primary School | Maguiresbridge | YES | NO | NO
Main Prim | St Mary's Primary School, Mullymesker | Bellanaleck | YES | NO | NO
Main Prim | St Mary's Primary School | Newtownbutler | YES | NO | NO
Main Prim | St Mary's Primary School | Teemore | YES | NO | NO
Main Prim | St Mary's Primary School | Tempo | YES | NO | YES
Main Prim | St Mary’s PS (previously St Mary's Boys' PS, Strabane) | Strabane | YES | NO | YES
Main Prim | St Mary’s PS (previously St Mary's Girls' PS, Strabane) | Strabane | YES | NO | YES
Main Prim | St Matthew's Primary School, Drumsurn | Limavady | YES | NO | NO
Main Prim | St Matthew's Primary School, Garvaghey | Ballygawley | YES | NO | NO
Main Prim | St Naile's Primary School | Kinawley | YES | NO | NO
Main Prim | St Oliver Plunkett Primary School | Beragh | YES | NO | NO
Main Prim | St Oliver Plunkett Primary School, Strathfoyle | Derry | YES | NO | NO
Main Prim | St Patrick's Primary School | Castlederg | YES | NO | YES
Main Prim | St Patrick's Primary School | Derrygonnelly | YES | NO | NO
Main Prim | St Patrick's Primary School | Dunamanagh | YES | NO | NO
Main Prim | St Patrick's Primary School | Eskra | YES | NO | NO
Main Prim | St Patrick's Primary School | Gortin | YES | NO | NO
Main Prim | St Patrick's Primary School, Mullanaskea | Enniskillen | YES | NO | NO
Main Prim | St Patrick's Primary School | Newtownstewart | YES | NO | YES
Main Prim | St Paul's Primary School | Irvinestown | YES | NO | YES
Main Prim | St Patrick’s Primary School | Seskinore | YES | NO | NO
Main Prim | St Paul's Primary School, Slievemore | Derry | YES | NO | NO
Main Prim | St Peter's Primary School | Plumbridge | YES | NO | NO
Main Prim | St Peter's & St Paul's Primary School | Dungiven | YES | NO | YES
Main Prim | St Ronan's Primary School | Lisnaskea | YES | NO | NO
Main Prim | St Scire's Primary School | Trillick | YES | NO | NO
Main Prim | St Teresa's Primary School, Loughmacrory | Omagh | YES | NO | YES
Main Prim | St Theresa's Primary School | Glebe | YES | NO | NO
Main Prim | St Therese Primary School, Leanmore | Derry | YES | NO | NO
Main Prim | St Tierney's Primary School | Roslea | YES | NO | NO
Main Prim | Steelstown Primary School | Derry | YES | NO | YES
Cont Prim | Strabane Primary School | Strabane | YES | NO | NO
Main Prim | Tattygar Primary School | Lisbellaw | YES | NO | NO
Cont Prim | Tempo No 1 Primary School |  | YES | NO | NO
Main Prim | Termoncanice Primary School | Limavady | YES | NO | YES
Main Prim | Tummery Primary School | Dromore | YES | NO | NO
Cont Spec | Belmont House Special School | Derry | YES | NO | YES
Cont Spec | Foyle View Special School | Derry | YES | NO | NO
Cont Spec | Rossmar Special School | Limavady | YES | NO | NO
Cont Post Prim | Castlederg High School |  | YES | NO | NO
Main Post Prim | Dean Maguirc College | Carrickmore | YES | NO | NO
Cont Post Prim | Devenish College | Enniskillen | YES | NO | YES
Main Post Prim | Immaculate Conception College | Derry | YES | NO | YES
Cont Post Prim | Limavady High School |  | YES | NO | YES
Cont Post Prim | Lisnaskea High School |  | YES | NO | NO
Cont Post Prim | Omagh High School |  | YES | NO | YES
Main Post Prim | Sacred Heart College | Omagh | YES | NO | NO
Main Post Prim | St Aidan’s High School | Derrylin | YES | NO | NO
Main Post Prim | St Comhghall’s College | Lisnaskea | YES | NO | YES
Main Post Prim | St Eugene’s College | Castlederg | YES | NO | NO
Main Post Prim | St Eugene’s | Roslea | YES | NO | YES
Main Post Prim | St John’s Business and Enterprise College | Dromore | YES | NO | YES
Main Post Prim | St Joseph’s College | Enniskillen | YES | NO | YES
Main Post Prim | St Mary’s College | Irvinestown | YES | NO | NO
Main Post Prim | St Mary’s High School | Brollagh | YES | NO | NO
Main Post Prim | St Mary’s High School | Limavady | YES | NO | NO
Main Post Prim | St Patrick’s College | Dungiven | YES | NO | NO
Main Post Prim | St Patrick’s & St Brigid’s College | Claudy | YES | NO | NO
Main Post Prim | St Peter’s High School | Derry | YES | NO | YES
Cont Post Prim | Strabane Academy – (Derry Road Site) |  | YES | NO | NO
Cont Post Prim | Strabane Academy – (Liskey Road Site) |  | YES | NO | YES
Cont Gram | Omagh Academy Grammar |  | YES | NO | NO
Cont Gram | Collegiate Grammar | Enniskillen | YES | NO | YES
Cont Gram | Limavady Grammar |  | YES | NO | NO
North Eastern Education & Library Board
Cont Nurs | Ashgrove Nursery School | Newtownabbey | YES | NO | NO
Cont Nurs | Ballyclare Nursery School |  | YES | NO | YES
Cont Nurs | Ballyhenry Nursery School |  | YES | NO | YES
Cont Nurs | Ballymena Nursery School |  | NO | NO | YES
Cont Nurs | Ballymoney Nursery School |  | NO | NO | YES
Cont Nurs | Ballysally Nursery School |  | YES | NO | NO
Cont Nurs | Dunclug Nursery School |  | YES | NO | YES
Cont Nurs | Kylemore Nursery School |  | YES | NO | NO
Cont Nurs | Monkstown Nursery School |  | YES | NO | YES
Cont Nurs | Mossley Nursery School |  | YES | NO | YES
Cont Nurs | Steeple Nursery School |  | YES | NO | NO
Cont Nurs | Sunnylands Nursery School |  | YES | NO | YES
Main Nurs | St Anthony's Nursery School |  | YES | NO | NO
Main Nurs | St Joseph's Nursery School |  | YES | NO | YES
Cont Prim | Ampertaine Primary School |  | YES | NO | NO
Cont Prim | Antrim Primary School |  | YES | NO | YES
Cont Prim | Armoy Primary School |  | YES | NO | YES
Cont Prim | Ashgrove Primary School |  | YES | NO | YES
Cont Prim | Ballycarry Primary School |  | YES | NO | NO
Cont Prim | Ballyclare Primary School |  | YES | NO | NO
Cont Prim | Ballycraigy Primary School |  | YES | NO | YES
Cont Prim | Ballyhenry Primary School |  | YES | NO | YES
Cont Prim | Ballymena Primary School |  | YES | NO | NO
Cont Prim | Ballynure Primary School |  | YES | NO | YES
Cont Prim | Ballysally Primary School |  | YES | NO | YES
Cont Prim | Ballytober Primary School |  | YES | NO | NO
Cont Prim | Balnamore Primary School |  | YES | NO | NO
Cont Prim | Bellaghy Primary School |  | YES | NO | NO
Cont Prim | Broughshane Primary School |  | YES | NO | YES
Cont Prim | Buick Memorial Primary School |  | YES | NO | NO
Cont Prim | Bushmills Primary School |  | YES | NO | YES
Cont Prim | Cairncastle Primary School |  | YES | NO | NO
Cont Prim | Camphill Primary School |  | YES | NO | YES
Cont Prim | Carnaghts Primary School |  | NO | NO | YES
Cont Prim | Carnalbanagh Primary School |  | YES | NO | YES
Cont Prim | Carnalridge Primary School |  | YES | NO | NO
Cont Prim | Carniny Primary School |  | YES | NO | YES
Cont Prim | Carnmoney Primary School |  | YES | NO | YES
Cont Prim | Carrickfergus Central Primay School |  | YES | NO | NO
Cont Prim | Carrickfergus Model Primary School |  | YES | NO | NO
Cont Prim | Carrowreagh Primary School |  | YES | NO | NO
Cont Prim | Castledawson Primary School |  | YES | NO | NO
Cont Prim | Castleroe Primary School |  | YES | NO | NO
Cont Prim | Clough Primary School |  | YES | NO | YES
Cont Prim | Cloughmills Primary School |  | YES | NO | YES
Cont Prim | Culcrow Primary School |  | YES | NO | NO
Cont Prim | Cullycapple Primary School |  | YES | NO | NO
Cont Prim | Culnady Primary School |  | YES | NO | NO
Cont Prim | D. H. Christie Memorial Primary School |  | YES | NO | NO
Cont Prim | Doagh Primary School |  | YES | NO | NO
Cont Prim | Drumard Primary School |  | YES | NO | YES
Cont Prim | Dunclug Primary School |  | YES | NO | YES
Cont Prim | Dunseverick Primary School |  | YES | NO | YES
Cont Prim | Earlview Primary School |  | YES | NO | NO
Cont Prim | Eden Primary School | Ballymoney | NO | NO | YES
Cont Prim | Eden Primary School | Carrickfergus | YES | NO | YES
Cont Prim | Fairview Primary School |  | YES | NO | NO
Cont Prim | Fourtowns Primary School |  | YES | NO | NO
Cont Prim | Garryduff Primary School |  | NO | NO | YES
Cont Prim | Garvagh Primary School |  | YES | NO | YES
Cont Prim | Glynn Primary School |  | YES | NO | YES
Cont Prim | Gorran Primary School |  | YES | NO | YES
Cont Prim | Greenisland Primary School |  | YES | NO | YES
Cont Prim | Greystone Primary School |  | YES | NO | YES
Cont Prim | Groggan Primary School |  | YES | NO | YES
Cont Prim | Harpur's Hill Primary School |  | YES | NO | NO
Cont Prim | Harryville Primary School |  | YES | YES | NO
Cont Prim | Hazelbank Primary School |  | YES | NO | NO
Cont Prim | Hezlett Primary School |  | YES | NO | NO
Cont Prim | Hollybank Primary School |  | YES | NO | YES
Cont Prim | Kells & Connor Primary School |  | YES | NO | NO
Cont Prim | Killowen Primary School | Coleraine | YES | NO | NO
Cont Prim | Kilmoyle Primary School |  | YES | NO | NO
Cont Prim | Kilrea Primary School |  | YES | NO | NO
Cont Prim | Kilross Primary School |  | YES | NO | YES
Cont Prim | Kings Park Primary School | Newtownabbey | YES | NO | YES
Cont Prim | Kirkinriola Primary School |  | YES | NO | NO
Cont Prim | Knockahollet Primary School |  | NO | NO | YES
Cont Prim | Knockloughrim Primary School |  | NO | NO | YES
Cont Prim | Larne & Inver Primary School |  | YES | NO | YES
Cont Prim | Linn Primary School |  | YES | NO | NO
Cont Prim | Lislagan Primary School |  | YES | NO | YES
Cont Prim | Longstone Primary School |  | YES | NO | NO
Cont Prim | Macosquin Primary School |  | YES | NO | NO
Cont Prim | Maghera Primary School |  | YES | NO | NO
Cont Prim | Magherafelt Primary School |  | YES | NO | YES
Cont Prim | Mallusk Primary School |  | YES | NO | NO
Cont Prim | Millburn Primary School |  | YES | NO | YES
Cont Prim | Mossgrove Primary School |  | YES | NO | YES
Cont Prim | Moyle Primary School |  | YES | YES | YES
Cont Prim | Mullaghdubh Primary School |  | NO | NO | YES
Cont Prim | Oakfield Primary School |  | YES | NO | NO
Cont Prim | Olderfleet Primary School |  | YES | NO | NO
Cont Prim | Parkgate Primary School |  | NO | NO | YES
Cont Prim | Parkhall Primary School |  | YES | NO | YES
Cont Prim | Portglenone Primary School |  | YES | NO | NO
Cont Prim | Portrush Primary School |  | YES | NO | YES
Cont Prim | Portstewart Primary School |  | YES | NO | YES
Cont Prim | Randalstown Central Primary School |  | YES | NO | YES
Cont Prim | Rasharkin Primary School |  | YES | NO | YES
Cont Prim | Rathcoole Primary School |  | YES | NO | NO
Cont Prim | Silverstream Primary School |  | YES | NO | NO
Cont Prim | Straid Primary School |  | YES | NO | NO
Cont Prim | Straidbilly Primary School |  | YES | NO | NO
Cont Prim | Straidhavern Primary School |  | YES | NO | NO
Cont Prim | Sunnylands Primary School |  | YES | NO | NO
Cont Prim | The Diamond Primary School |  | YES | NO | YES
Cont Prim | The Irish Society's Primary School |  | YES | NO | YES
Cont Prim | The Thompson Primary School |  | YES | NO | NO
Cont Prim | Tildarg Primary School |  | YES | NO | NO
Cont Prim | Tobermore Primary School |  | YES | NO | YES
Cont Prim | Toreagh Primary School |  | YES | NO | YES
Cont Prim | Upper Ballyboley Primary School |  | NO | NO | YES
Cont Prim | Victoria Primary School | Carrickfergus | YES | NO | YES
Cont Prim | Whitehead Primary |  | NO | YES | YES
Cont Prim | William Pinkerton Memorial Primary School |  | NO | NO | YES
Cont Prim | Woodburn Primary School |  | NO | NO | YES
Cont Prim | Woodlawn Primary School |  | YES | NO | YES
Cont Integ Prim | Rathenraw Primary School |  | YES | NO | YES
Cont Integ Prim | Carnlough Integrated Primary School |  | YES | NO | YES
Cont Integ Prim | Round Tower Integrated Primary School |  | YES | NO | YES
Cont Integ Prim | Glengormley Primary School |  | YES | NO | YES
Cont Integ Prim | Ballycastle Integrated Primary School |  | YES | NO | NO
Cont Integ Prim | Ballymoney Model Controlled Integrated Primary School |  | YES | NO | YES
Cont Integ Prim | Crumlin Primary School |  | YES | NO | NO
Main Prim | Anahorish Primary School |  | YES | YES | NO
Main Prim | Ballyhackett Primary School |  | YES | NO | NO
Main Prim | St John Bosco Primary School | Ballynease | YES | NO | YES
Main Prim | Barnish Primary School |  | YES | NO | YES
Main Prim | Carlane Primary School |  | YES | NO | YES
Main Prim | Creggan Primary School |  | YES | NO | NO
Main Prim | Glen Primary School |  | YES | NO | NO
Main Prim | Glenravel Primary School |  | YES | NO | YES
Main Prim | Holy Family Primary School | Magherafelt | YES | NO | YES
Main Prim | Kilcoan Primary School |  | YES | NO | YES
Main Prim | Knocknagin Primary School |  | YES | NO | YES
Main Prim | Millquarter Primary School |  | YES | NO | YES
Main Prim | Moneynick Primary School |  | YES | NO | NO
Main Prim | Mount St Michael's Primary School |  | YES | NO | NO
Main Prim | New Row Primary School |  | YES | NO | YES
Main Prim | Seaview Primary School | Glenarm | YES | NO | YES
Main Prim | St Anne's Primary School |  | YES | NO | YES
Main Prim | St Anthony's Primary School |  | YES | NO | YES
Main Prim | St Bernard's Primary School |  | YES | NO | YES
Main Prim | St Brigid's Primary School | Tirkane | YES | NO | NO
Main Prim | St Brigid's Primary School | Ballymoney | YES | NO | YES
Main Prim | St Brigid's Primary School | Cloughmills | NO | NO | YES
Main Prim | St Brigid's Primary School | Knockloughrim | YES | NO | YES
Main Prim | St Ciaran's Primary School |  | YES | NO | YES
Main Prim | St Colum's Primary School | Portstewart | YES | NO | NO
Main Prim | St Columb's Primary School | Magherafelt | YES | NO | YES
Main Prim | St Columba's Primary School | Straw | YES | NO | NO
Main Prim | St Columba's Primary School | Garvagh | YES | NO | NO
Main Prim | St Columba's Primary School | Kilrea | YES | NO | YES
Main Prim | St Comgall's Primary School |  | YES | NO | NO
Main Prim | St Eoghan's Primary School |  | YES | NO | NO
Main Prim | St James' Primary School |  | YES | NO | YES
Main Prim | St John's Primary School | Carnlough | YES | NO | YES
Main Prim | St John's Primary School | Coleraine | NO | NO | YES
Main Prim | St John's Primary School | Swatragh | YES | NO | NO
Main Prim | St Joseph's Primary School | Antrim | YES | NO | YES
Main Prim | St Joseph's Primary School | Dunloy | NO | NO | YES
Main Prim | St Macnissi's Primary School | N'Abbey | YES | NO | YES
Main Prim | St Macnissius' Primary School |  | NO | NO | YES
Main Prim | St Malachy's Primary School |  | NO | NO | YES
Main Prim | St Mary's Primary School | Glenview | YES | NO | YES
Main Prim | St Mary's Primary School | Bellaghy | YES | NO | YES
Main Prim | St Mary's Primary School | Cargan | YES | NO | NO
Main Prim | St Mary's Primary School | Cushendall | YES | NO | YES
Main Prim | St Mary's Primary School | Draperstown | YES | NO | NO
Main Prim | St Mary's Primary School | Greenlough | YES | NO | YES
Main Prim | St Mary's Primary School | Portglenone | YES | NO | YES
Main Prim | St Mary's Primary School | Rathlin | YES | NO | YES
Main Prim | St Mary's-on-The-Hill Primary School |  | YES | NO | YES
Main Prim | St Olcan's Primary School |  | YES | NO | NO
Main Prim | St Patrick's Primary School | Glenariffe | YES | NO | YES
Main Prim | St Patrick's Primary School | Loughgiel | YES | NO | YES
Main Prim | St Patrick's Primary School | Portrush | YES | NO | YES
Main Prim | St Patrick's Primary School | Rasharkin | YES | NO | YES
Main Prim | St Paul's Primary School |  | YES | NO | YES
Main Prim | St Trea's Primary School |  | YES | NO | YES
Main Prim | Tir-na-nog Primary School |  | NO | NO | YES
Main Prim | St Oliver Plunkett Primary School |  | YES | NO | NO
Main Prim | St Patrick's & St Joseph's Fed. Primary School |  | YES | NO | YES
Grant Main Irish Med | Gaelscoil an Chastil |  |  | MANAGEMENT SURVEY PLANNED
Grant Main Irish Med | Gaelscoil na Speirini |  |  | MANAGEMENT SURVEY PLANNED
Grant Main Irish Med | Gaelscoil Ghleann Darach |  |  | MANAGEMENT SURVEY PLANNED
Grant Main Irish Med | Gaelscoil Eanna |  |  | MANAGEMENT SURVEY PLANNED
Grant Main Irish Med | Gaelscoil an tSeanchaí |  |  | MANAGEMENT SURVEY PLANNED
Cont Sec | Ballee Community High School |  | YES | NO | YES
Cont Sec | Ballycastle High School |  | YES | NO | NO
Cont Sec | Ballyclare Secondary School |  | YES | NO | NO
Cont Sec | Ballymoney High School |  | YES | NO | NO
Cont Sec | Carrickfergus College |  | YES | NO | YES
Cont Sec | Cullybackey High School |  | YES | NO | YES
Cont Sec | Downshire School |  | YES | NO | YES
Cont Sec | Dunclug College |  | YES | NO | YES
Cont Sec | Dunluce School |  | YES | NO | NO
Cont Sec | Garvagh High School |  | YES | YES | YES
Cont Sec | Glengormley High School |  | YES | NO | YES
Cont Sec | Larne High School |  | YES | NO | NO
Cont Sec | Monkstown Community School |  | YES | NO | YES
Cont Sec | Newtownabbey Community High School |  | YES | NO | NO
Cont Sec | Coleraine College |  | YES | NO | YES
Cont Integ Sec | Crumlin Integrated College |  | YES | NO | YES
Cont Integ Sec | Parkhall College |  | YES | NO | YES
Main Sec | Cross and Passion College |  | YES | NO | YES
Main Sec | Edmund Rice College |  | YES | NO | YES
Main Sec | Our Lady of Lourdes High School |  | YES | NO | YES
Main Sec | St Colm's High School |  | YES | NO | YES
Main Sec | St Joseph's College |  | YES | NO | YES
Main Sec | St Mary's College |  | YES | NO | NO
Main Sec | St Patrick's College | Ballymena | YES | NO | YES
Main Sec | St Patrick's College | Maghera | YES | NO | YES
Main Sec | St Paul's College |  | YES | NO | YES
Main Sec | St Benedict's College |  | YES | NO | YES
Main Sec | St Killian's College |  | YES | NO | YES
Cont Gram | Ballyclare High School |  | YES | NO | YES
Cont Gram | Cambridge House Grammar School |  | YES | NO | YES
Cont Gram | Carrickfergus Grammar School |  | YES | YES | YES
Cont Gram | Coleraine High School |  | YES | NO | YES
Spec Sch | Rosstulla Special School |  | YES | NO | YES
Spec Sch | Thornfield Special School |  | YES | NO | YES
Spec Sch | Castletower Special School |  | YES | NO | YES
Belfast Education & Library Board
Con.Nurs | Arellian Nursery School | Belfast | YES | NO | NO
Con.Nurs | Brefne Nursery School | Belfast | YES | NO | YES
Con.Nurs | Edenderry Nursery School | Belfast | YES | NO | NO
Con.Nurs | Hope Nursery School | Belfast | YES | NO | NO
Con.Nurs | McArthur Nursery School | Belfast | YES | NO | NO
Con.Nurs | Oldpark Nursery School | Belfast | NO | NO | YES
Con.Nurs | Shaftesbury Nursery School | Belfast | YES | NO | NO
Con.Nurs | Tudor Lodge Nursery School | Belfast | YES | NO | NO
Main.Nurs | Bethlehem Nursery School | Belfast | YES | NO | NO
Main.Nurs | Holy Child Nursery School | Belfast | YES | NO | NO
Main.Nurs | Holy Family Nursery School | Belfast | YES | NO | NO
Main.Nurs | Holy Rosary Nursery School | Belfast | YES | NO | NO
Main.Nurs | Our Lady’s Nursery School | Belfast | YES | NO | NO
Main.Nurs | St Bernadette’s Nursery School | Belfast | YES | NO | NO
Main.Nurs | St Maria Goretti Nursery School | Belfast | YES | NO | NO
Main.Nurs | St Martin’s Nursery School | Belfast | YES | NO | YES
Main.Nurs | St Michael’s Nursery School | Belfast | YES | NO | NO
Con.Prim | Avoniel Primary School | Belfast | YES | NO | YES
Con.Prim | Ballygolan Primary School | Belfast | YES | NO | NO
Con.Prim | Ballysillan Primary School | Belfast | NO | NO | YES
Con.Prim | Blackmountain Primary School | Belfast | YES | NO | NO
Con.Prim | Blythefield Primary School | Belfast | YES | NO | YES
Con.Prim | Botanic Primary School | Belfast | YES | NO | NO
Con.Prim | Carrs Glen Primary School | Belfast | YES | NO | YES
Con.Prim | Currie Primary School | Belfast | YES | NO | NO
Con.Prim | Donegall Road Primary School | Belfast | YES | YES | YES
Con.Prim | Dundela Primary School | Belfast | YES | NO | YES
Con.Prim | Edenbrook Primary School | Belfast | YES | NO | NO
Con.Prim | Elmgrove Primary School | Belfast | YES | NO | NO
Con.Prim | Euston St Primary School | Belfast | YES | NO | NO
Con.Prim | Fane St Primary School | Belfast | YES | NO | YES
Con.Prim | Glenwood Primary School | Belfast | YES | NO | YES
Con.Prim | Greenwood Primary School | Belfast | YES | NO | NO
Con.Prim | Harding Mem. Primary School | Belfast | YES | NO | YES
Con.Prim | Harmony Primary School | Belfast | YES | NO | NO
Con.Prim | Knocknagoney Primary School | Belfast | YES | NO | YES
Con.Prim | Ligoniel Primary School | Belfast | YES | NO | YES
Con.Prim | Malvern Primary School | Belfast | YES | NO | YES
Con.Prim | Nettlefield Primary School | Belfast | YES | NO | NO
Con.Prim | Rosetta Primary School | Belfast | YES | NO | NO
Con.Prim | Seaview Primary School | Belfast | YES | NO | YES
Con.Prim | Springfield Primary School | Belfast | YES | NO | YES
Con.Prim | Springhill Primary School | Belfast | YES | NO | YES
Con.Prim | Strandtown Primary School | Belfast | YES | NO | YES
Con.Prim | Stranmillis Primary School | Belfast | YES | NO | YES
Con.Prim | Victoria Park Primary School | Belfast | YES | NO | NO
Con.Prim | Wheatfield Primary School | Belfast | YES | NO | NO
Int.Prim | Cliftonville Primary School | Belfast | YES | NO | YES
Main.Prim | Bunscoil Mhic Reachtain | Belfast | YES | NO | YES
Main.Prim | Bunscoil an tSleibhe Dhuibh | Belfast | YES | NO | NO
Main.Prim | Bunscoil Bheann Mhadagain | Belfast | YES | NO | YES
Main.Prim | Edmund Rice Primary School | Belfast | YES | NO | YES
Main.Prim | Gaelscoil An Lonnin | Belfast | YES | NO | NO
Main.Prim | Holy Child Primary School | Belfast | YES | NO | NO
Main.Prim | Holy Cross boys Primary School | Belfast | YES | NO | NO
Main.Prim | Holy Cross girls Primary School | Belfast | YES | NO | YES
Main.Prim | Holy Family Primary School | Belfast | YES | NO | NO
Main.Prim | Holy Rosary Primary School | Belfast | YES | NO | NO
Main.Prim | Holy Trinity Primary School | Belfast | YES | NO | YES
Main.Prim | Mercy Primary School | Belfast | YES | NO | NO
Main.Prim | Our Lady’s Primary School | Belfast | YES | NO | YES
Main.Prim | Our Lady of Lourdes Primary School | Belfast | YES | NO | NO
Main.Prim | Sacred Heart boys Primary School | Belfast | YES | NO | NO
Main.Prim | St Aidan’s Primary School | Belfast | YES | NO | YES
Main.Prim | St Anne’s Primary School | Belfast | YES | NO | YES
Main.Prim | St Bernadette’s Primary School | Belfast | YES | NO | YES
Main.Prim | St Bride’s Primary School | Belfast | YES | NO | YES
Main.Prim | St John the Baptist boys Primary School | Belfast | YES | NO | YES
Main.Prim | St John the Baptist girls Primary School | Belfast | YES | NO | YES
Main.Prim | St Joseph’s (Holland Dr.) Primary School | Belfast | YES | NO | YES
Main.Prim | St Joseph’s (Slate St.) Primary School | Belfast | YES | NO | NO
Main.Prim | St Malachy’s Primary School | Belfast | YES | NO | NO
Main.Prim | St Mary’s Primary School | Belfast | YES | NO | NO
Main.Prim | St Mary’s SOTS Primary School | Belfast | YES | NO | NO
Main.Prim | St Matthew’s Primary School | Belfast | YES | NO | NO
Main.Prim | St Michael’s Primary School | Belfast | YES | NO | YES
Main.Prim | St Oliver Plunkett Primary School | Belfast | YES | NO | YES
Main.Prim | St Paul’s Primary School | Belfast | YES | NO | YES
Main.Prim | St Teresa’s Primary School | Belfast | YES | NO | YES
Main.Prim | St Vincent De Paul Primary School | Belfast | YES | NO | NO
Main.Prim | Star of the Sea Primary School | Belfast | YES | NO | NO
Con.Sec | Ashfield boys High School | Belfast | YES | NO | YES
Con.Sec | Orangefield High School | Belfast | YES | NO | YES
Main.Sec | Christian Brothers Secondary School | Belfast | YES | NO | YES
Main.Sec | Corpus Christi College | Belfast | YES | NO | YES
Main.Sec | Little Flower Girls School | Belfast | YES | NO | YES
Main.Sec | Meanscoil Fierste | Belfast | YES | NO | NO
Main.Sec | Our Lady of Mercy Girls School | Belfast | YES | NO | YES
Main.Sec | St Gemma’s High School | Belfast | YES | NO | YES
Main.Sec | St Joseph’s College | Belfast | YES | NO | YES
Main.Sec | St Louise’s Comprehensive College | Belfast | YES | NO | YES
Main.Sec | St Patrick’s College | Belfast | YES | NO | YES
Main.Sec | St Rose’s High School | Belfast | YES | NO | YES
Con.Spec | Clarawood Special School | Belfast | YES | NO | NO
Con.Spec | Fleming Fulton Special School | Belfast | YES | NO | YES
Con.Spec | Greenwood Special School | Belfast | YES | NO | YES
Con.Spec | Mitchell House Special School | Belfast | YES | NO | YES
Con.Spec | Park Education Resource Centre | Belfast | YES | NO | NO
Main.Spec | St Gerard’s Education Resource Centre | Belfast | YES | NO | YES
Southern Education & Library Board
Cont Gram | Banbridge Academy |  | YES | NO | YES
Cont Integ Prim | Kilbroney Primary School |  | YES | NO | NO
Cont Integ Sec | Brownlow College |  | YES | NO | YES
Cont Nurs | Kilkeel Nursery School |  | YES | NO | YES
Cont Nurs | Millington Nursery School |  | YES | NO | YES
Cont Nurs | Harrison Nursery School |  | YES | NO | YES
Cont Nurs | Grove Nursery School |  | YES | NO | YES
Cont Nurs | Fivemiletown Nursery School |  | YES | NO | NO
Cont Nurs | Dungannon Nursery School |  | NO | NO | YES
Cont Nurs | Cookstown Nursery School |  | YES | NO | YES
Cont Nurs | Ashgrove Nursery School |  | YES | NO | YES
Cont Nurs | Edenderry Nursery School |  | YES | NO | YES
Cont Nurs | Banbridge Nursery School |  | YES | NO | YES
Cont Nurs | Railway Street Nursery School |  | YES | NO | NO
Cont Prim | Kingsmills Primary School |  | YES | NO | NO
Cont Prim | Howard Primary School |  | YES | NO | NO
Cont Prim | Iveagh Primary School |  | YES | NO | YES
Cont Prim | Keady Primary School |  | YES | NO | YES
Cont Prim | Kilkeel Primary School |  | YES | NO | YES
Cont Prim | Killylea Primary School |  | YES | NO | YES
Cont Prim | King`s Park Primary School |  | YES | NO | YES
Cont Prim | Lisnadill Primary School |  | YES | NO | NO
Cont Prim | Hart Memorial Primary School |  | YES | NO | YES
Cont Prim | Edenderry Primary School | Banbridge | YES | NO | YES
Cont Prim | Killyman Primary School |  | YES | NO | NO
Cont Prim | Hardy Memorial Primary School |  | YES | NO | NO
Cont Prim | Hamiltonsbawn Primary School |  | YES | NO | NO
Cont Prim | Foley Primary School |  | YES | NO | YES
Cont Prim | Fivemiletown Primary School |  | YES | NO | YES
Cont Prim | Fairhill Primary School |  | YES | NO | NO
Cont Prim | Edenderry Primary School | Portadown | YES | NO | YES
Cont Prim | Moy Regional Primary School |  | YES | NO | YES
Cont Prim | Dungannon Primary School |  | YES | NO | YES
Cont Prim | Drumhillery Primary School |  | YES | NO | YES
Cont Prim | Dromore Road Primary School |  | YES | NO | NO
Cont Prim | Dromore Central Primary School |  | YES | NO | YES
Cont Prim | Orritor Primary School |  | NO | NO | YES
Cont Prim | Waringstown Primary School |  | YES | NO | NO
Cont Prim | Walker Memorial Primary School |  | YES | NO | NO
Cont Prim | Tullygally Primary School |  | YES | NO | YES
Cont Prim | The Cope Primary School |  | YES | NO | YES
Cont Prim | Tandragee Primary School |  | YES | NO | YES
Cont Prim | Stewartstown Primary School |  | YES | NO | YES
Cont Prim | Scarva Primary School |  | YES | NO | NO
Cont Prim | Richmount Primary School |  | YES | NO | YES
Cont Prim | Moneymore Primary School |  | YES | NO | NO
Cont Prim | Poyntzpass Primary School |  | YES | NO | YES
Cont Prim | Lurgan Model Primary School |  | YES | NO | NO
Cont Prim | Newtownhamilton Primary School |  | NO | NO | YES
Cont Prim | Newmills Primary School |  | YES | YES | YES
Cont Prim | Mullavilly Primary School |  | YES | NO | YES
Cont Prim | Moyallon Primary School |  | YES | NO | NO
Cont Prim | Drumgor Primary School |  | YES | NO | YES
Cont Prim | Mountnorris Primary School |  | YES | NO | NO
Cont Prim | Donaghmore (Dungannon) Primary School |  | YES | NO | YES
Cont Prim | Minterburn Primary School |  | YES | NO | NO
Cont Prim | Millington Primary School |  | YES | NO | YES
Cont Prim | Markethill Primary School |  | YES | NO | NO
Cont Prim | Q E II Primary School |  | YES | NO | YES
Cont Prim | Bush Primary School |  | YES | NO | NO
Cont Prim | Donacloney Primary School |  | YES | NO | NO
Cont Prim | Aughnacloy Regional Primary School |  | YES | NO | NO
Cont Prim | Augher Central Primary School |  | YES | NO | NO
Cont Prim | Armstrong Primary School |  | YES | NO | NO
Cont Prim | Ballyoran Primary School |  | YES | NO | YES
Cont Prim | Ballytrea Primary School |  | YES | NO | YES
Cont Prim | Bessbrook Primary School |  | YES | NO | NO
Cont Prim | Birches Primary School |  | YES | NO | YES
Cont Prim | Bleary Primary School |  | YES | NO | NO
Cont Prim | Drumsallen Primary School |  | YES | NO | YES
Cont Prim | Brackenagh West Primary School |  | YES | NO | NO
Cont Prim | Carntall Primary School |  | YES | NO | YES
Cont Prim | Cortamlet Primary School |  | YES | NO | YES
Cont Prim | Dickson Primary School |  | YES | NO | YES
Cont Prim | Derryhale Primary School |  | YES | NO | NO
Cont Prim | Abercorn Primary School |  | YES | NO | YES
Cont Prim | Darkley Primary School |  | YES | NO | YES
Cont Prim | Bocombra Primary School |  | YES | NO | YES
Cont Prim | Craigavon Primary School |  | YES | NO | YES
Cont Prim | Carrick Primary School | Lurgan | YES | NO | YES
Cont Prim | Cookstown Primary School |  | YES | NO | YES
Cont Prim | Collone Primary School |  | YES | NO | YES
Cont Prim | Coagh Primary School |  | YES | NO | NO
Cont Prim | Clogher Regional Primary School |  | YES | NO | NO
Cont Prim | Clare Primary School |  | YES | NO | NO
Cont Prim | Churchtown Primary School |  | YES | NO | NO
Cont Prim | Churchill Primary School |  | YES | NO | YES
Cont Prim | Annalong Primary School |  | YES | NO | NO
Cont Sec | Lurgan Junior High School |  | YES | NO | YES
Cont Sec | City of Armagh High School |  | YES | NO | YES
Cont Sec | Tandragee Junior High School |  | YES | NO | NO
Cont Sec | Rathfriland High School |  | YES | NO | YES
Cont Sec | Newtownhamilton High School |  | YES | NO | YES
Cont Sec | Killicomaine Junior High School |  | YES | NO | YES
Cont Sec | Kilkeel High School |  | YES | NO | YES
Cont Sec | Fivemiletown High School |  | YES | NO | NO
Cont Sec | Dromore High School |  | YES | NO | YES
Cont Sec | Craigavon Senior High School |  | YES | NO | YES
Cont Sec | Cookstown High School |  | YES | NO | NO
Cont Sec | Clounagh Junior High School |  | YES | NO | YES
Cont Sec | Aughnacloy High School |  | YES | NO | YES
Cont Sec | Newry High School |  | YES | NO | NO
Cont Sec | Markethill High School |  | YES | NO | YES
Cont Sen High - Gram | Lurgan College |  | YES | NO | YES
Cont Sen High - Gram | Portadown College |  | YES | YES | YES
EOTAS | Tamnamore Primary School |  | YES | NO | YES
EOTAS | Lough Road Learning Centre |  | YES | NO | NO
EOTAS | Kinnego Centre |  | YES | NO | YES
Main Nurs | St John the Baptist Nursery School |  | YES | NO | YES
Main Prim | Edendork Primary School |  | YES | NO | NO
Main Prim | Dromintee Primary School |  | YES | NO | NO
Main Prim | Armagh Christian Bros Primary School |  | YES | NO | YES
Main Prim | Derrychrin Primary School |  | YES | NO | YES
Main Prim | Crievagh Primary School |  | YES | NO | NO
Main Prim | Clontifleece Primary School |  | YES | NO | NO
Main Prim | Holy Trinity Primary School |  | YES | NO | YES
Main Prim | Clonalig Primary School |  | YES | NO | NO
Main Prim | Holy Cross Primary School | Attical | YES | NO | NO
Main Prim | Clintyclay Primary School |  | YES | NO | NO
Main Prim | Clay Primary School |  | YES | NO | NO
Main Prim | Carrick Primary School | Warrenpoint | YES | NO | NO
Main Prim | Ballylifford Primary School |  | YES | YES | NO
Main Prim | Aughamullan Primary School |  | YES | NO | YES
Main Prim | Anamar Primary School |  | YES | NO | NO
Main Prim | Jonesborough Primary School |  | YES | NO | NO
Main Prim | Ballyholland Primary School |  | YES | NO | NO
Main Prim | St Mary`s Primary School | Lisbouy | YES | NO | NO
Main Prim | St Malachy`s Primary School | Glencull | YES | NO | YES
Main Prim | St Patrick`s Primary School | Aughadarragh | YES | NO | YES
Main Prim | St Oliver Plunkett`s Primary School | Forkhill | YES | NO | NO
Main Prim | St Michael`s Primary School | Newtownhamilton | YES | NO | NO
Main Prim | St Michael`s Primary School | Finnis | YES | NO | YES
Main Prim | St Michael`s Primary School | Clady | YES | YES | NO
Main Prim | St Mary`s Boy`s Primary School | Rostrevor | YES | NO | YES
Main Prim | St Mary`s Primary School | Stewartstown | YES | NO | YES
Main Prim | St Mary`s Primary School | Rathfriland | YES | NO | NO
Main Prim | St Patrick`s Primary School | Annaghmore | YES | NO | NO
Main Prim | St Mary`s Primary School | Mullaghbawn | YES | NO | NO
Main Prim | St Patrick`s Primary School | Armagh | YES | NO | YES
Main Prim | St Mary`s Primary School | Glassdrumman | YES | NO | NO
Main Prim | Killean Primary School |  | YES | NO | YES
Main Prim | St Mary`s Primary School | Dunamore | YES | YES | NO
Main Prim | St Mary`s Primary School | Derrytrasna | YES | NO | YES
Main Prim | St Mary`s Primary School | Derrymore | YES | NO | YES
Main Prim | St Mary`s Primary School | Cabra | YES | NO | NO
Main Prim | St Mary`s Primary School | Barr | YES | NO | YES
Main Prim | St Mary`s Primary School | Banbridge | YES | NO | YES
Main Prim | St Mary`s Primary School | Ballygawley | YES | NO | NO
Main Prim | St Mary`s Primary School | Pomeroy | YES | NO | NO
Main Prim | St Patrick`s Primary School | Mullinahoe | YES | NO | NO
Main Prim | St Francis' Primary School | Lurgan | YES | NO | YES
Main Prim | St Francis' of Assisi Primary School |  | YES | NO | YES
Main Prim | St Teresa`s Primary School | Tullyherron | YES | NO | YES
Main Prim | Tannaghmore Primary School |  | YES | NO | YES
Main Prim | St Teresa`s Primary School | Lurgan | YES | NO | YES
Main Prim | St Ronan`s Primary School | Newry | YES | NO | NO
Main Prim | St Peter`s Primary School | Moortown | YES | NO | YES
Main Prim | St Peter`s Primary School | Collegelands | YES | NO | NO
Main Prim | St Patrick`s Primary School | Aghacommon | YES | NO | YES
Main Prim | St Patrick`s Primary School | Newry | YES | NO | NO
Main Prim | St Mary`s Primary School | Fivemiletown | NO | NO | YES
Main Prim | St Patrick`s Primary School | Moneymore | YES | NO | YES
Main Prim | St Patrick`s Primary School | Mayobridge | YES | NO | NO
Main Prim | St Patrick`s Primary School | Magheralin | YES | NO | YES
Main Prim | St Patrick`s Primary School | Loup | YES | NO | YES
Main Prim | St Patrick`s Primary School | Drumgreenagh | YES | NO | NO
Main Prim | St Patrick`s Primary School | Derrynaseer | YES | NO | YES
Main Prim | St Patrick`s Primary School | Cullyhanna | YES | NO | YES
Main Prim | St Patrick`s Primary School | Crossmaglen | YES | NO | YES
Main Prim | St Patrick`s Primary School | Ballymaghery | YES | NO | NO
Main Prim | St Paul`s Primary School | Cabra | YES | NO | NO
Main Prim | St Anthony`s Primary School |  | YES | NO | NO
Main Prim | St Colman`s Abbey Primary School | Newry | YES | NO | YES
Main Prim | St Colman`s Primary School | Bann | YES | NO | NO
Main Prim | St Colman`s Primary School | Kilkeel | YES | YES | YES
Main Prim | St Colman`s Primary School | Dromore | YES | NO | YES
Main Prim | St Colmans Primary School | Annaclone | YES | NO | YES
Main Prim | St Clare's Convent Primary School | Newry | YES | NO | YES
Main Prim | St Malachy`s Primary School | Drummullan | YES | NO | NO
Main Prim | St Brigid`s Primary School | Drumilly | NO | NO | YES
Main Prim | St James Primary School | Drumatee | YES | NO | NO
Main Prim | St Brendan`s Primary School |  | YES | NO | NO
Main Prim | St Brigid`s Primary School | Mountjoy | YES | NO | NO
Main Prim | Sacred Heart (Rock) Primary School |  | YES | NO | YES
Main Prim | Roan Primary School |  | YES | NO | NO
Main Prim | Primate Dixon Primary School |  | YES | NO | NO
Main Prim | Presentation Primary School |  | YES | NO | NO
Main Prim | Mount St Catherines Primary School |  | YES | NO | YES
Main Prim | Moneydarragh Primary School |  | NO | NO | YES
Main Prim | St Mathew`s Primary School | Magheramayo | YES | NO | YES
Main Prim | Lissan Primary School |  | YES | NO | NO
Main Prim | Laghey Primary School |  | YES | NO | NO
Main Prim | St Mary`s Primary School | Granemore | YES | NO | NO
Main Prim | St Malachy`s Primary School | Ballymoyer | YES | NO | YES
Main Prim | St Malachy`s Primary School | Carrickcroppan | YES | NO | NO
Main Prim | St Brigid`s Primary School | Augher | NO | NO | NO
Main Prim | St Malachy`s Primary School | Carnagat | YES | NO | NO
Main Prim | St Jarlath`s Primary School |  | YES | NO | YES
Main Prim | St Malachy`s Primary School | Armagh | YES | NO | YES
Main Prim | St MacCartan`s Convent Primary School |  | YES | NO | YES
Main Prim | St Laurence`s Primary School |  | YES | NO | NO
Main Prim | St Joseph`s Convent Primary School | Newry | YES | NO | YES
Main Prim | St Joseph`s Primary School | Poyntzpass | YES | NO | YES
Main Prim | St Joseph`s Primary School | Meigh | YES | NO | YES
Main Prim | St Joseph`s (Madden) Primary School |  | YES | NO | NO
Main Prim | St John`s Primary School | Kingsisland | YES | NO | NO
Main Prim | St John the Baptist Primary School |  | YES | NO | YES
Main Prim | St John`s Primary School | Moy | YES | NO | NO
Main Prim | St Joseph`s Primary School | Ballymartin | YES | NO | NO
Main Prim | St Joseph`s Primary School | Bessbrook | YES | NO | YES
Main Prim | St Joseph`s Primary School | Caledon | YES | NO | NO
Main Prim | St Joseph`s Primary School | Galbally | NO | NO | YES
Main Prim | St Joseph`s Primary School | Killeenan | YES | NO | YES
Main Prim | St John`s Primary School | Gilford | YES | NO | YES
Main Sec | St Brigid`s Boys High School |  | YES | NO | YES
Main Sec | St Mark`s High School | Warrenpoint | YES | NO | YES
Main Sec | St Paul`s Junior High School | Lurgan | YES | NO | YES
Main Sec | St Paul`s High School | Bessbrook | YES | NO | YES
Main Sec | St Patrick`s College | Banbridge | YES | NO | YES
Main Sec | St Mary`s High School | Newry | YES | NO | YES
Main Sec | St Mary`s Girls Junior High School |  | YES | NO | YES
Main Sec | St Joseph`s High School | Crossmaglen | YES | NO | NO
Main Sec | St Joseph`s High School | Coalisland | YES | NO | YES
Main Sec | St Joseph`s Boys High School | Newry | YES | NO | YES
Main Sec | St Catherine`s College |  | YES | NO | NO
Main Sec | Holy Trinity College |  | YES | YES | YES
Main Sec | Drumcree College |  | YES | NO | YES
Main Sec | St Columban`s College |  | YES | NO | YES
Other Main Prim | Drelincourt (Junior) Primary School |  | YES | NO | YES
Other Main Prim | Bunscoil an Iuir Primary School |  | YES | NO | NO
Other Main Prim | Seagoe Primary School |  | YES | NO | YES
Spec | Sperrinview Special School |  | YES | NO | NO